## Sheet1
Raw Material | Sub QTY
Cables | 1
Lugs for copper conductor cables | 1
Lugs for aluminum conductor cables | 1
Tinned copper lugs | 1
Excavated trench | 1
Built up trench | 1
Cable trays | 1
Supports | 1
Hume pipes | 1
Wiring | 1
Submain | 1
Circuit main | 1
Power receptacles | 1
2.5 sqmm multi standard FRLS copper wire | 2
1.5 sqmm multi standard FRLS copper wire | 1
FRLS copper wires 4.0 sqmm | 2
FRLS copper wires 2.5 sqmm | 1
FRLS copper wires 2.5 sqmm | 2
FRLS copper wires 1.5 sqmm | 1
Switches | 1
Sockets | 1
Switch boxes | 1
Switch boards | 1
MCB DBs | 1
FRLS PVC conduits | 1
FRLS Wires, Cables | 1
LT Switchboards | 1
RYBN sleeved TPN Al bus bars | 1
set of foundation bolts | 1
nuts | 1
hardware for inter panel alignment | 1
Metering Panel | 1
space provision for solar meter | 1
bi-directional meters | 1
CRCA sheet steel | 1.2
cable gland plate | 1
tinned copper | 1
Insulated fork type busbar | 1
Independent neutral bus | 1
interconnecting wiring | 1
earth bus | 1
TPN DB | 1
module cutout | 8
incomer | 8
outgoing | 18
Flush mounted | 1
horizontal mounting type | 1
flush type double door | 1
IP43 | 1
metal door | 1
Three Phase DB | 1
Incomer | 1
40A 4P RCCB | 1
30mA & AC type | 1
6/10A SP, MCBs ('B' CURVE) | 6
16/20A SP, MCBs ('C' CURVE) | 8
32A 4P MCB ('C' CURVE) | 1
12Way SPN DB for LIFT | 1
Flush mounted | 1
Horizontal mounting type | 1
Flush type double door | 1
IP43 | 1
Metal door | 1
Three Phase DB | 1
40A 4P MCBs ('C' CURVE) | 1
40A 4P RCCB | 1
30mA & AC type | 1
6/10A SP MCBs ('B' CURVE) | 2
16/20A SP MCBs ('C' CURVE) | 2
Aluminium Conductor | 1
XLPE Insulated | 1
PVC type ST-2 | 1
Copper lugs | 1
Aluminium cable tags | 1
Aluminium armoured cable | 1
Al. armoured cable, A2XFY | 1
Al. armoured cable | 1
Aluminium armoured cable | 1
Terminal Box | 1
Termination box | 1
40A heavy duty Terminal Block | 4
4C-10 Sq.mm Al.Arm cable | 1
Copper wires | 1
Gland | 1
PVC conduit | 1
FRLS copper flexible wires | 1
conduit | 1
bends | 1
colars | 1
G.I wire | 1
Nylon rope | 1
6 Sq.mm Cu FRLS wire | 4
2.5 Sq.mm Cu FRLS wire | 1
32mm dia. PVC, RIGID, 2mm thick conduit | 1
4.0 Sq.mm Cu FRLS wire | 2
2.5 Sq.mm Cu FRLS wire | 1
20mm dia. PVC, RIGID, 2mm thick conduit | 1
2.5 Sq.mm Cu FRLS wire | 2
1.5 Sq.mm Cu FRLS wire | 1
20mm dia. PVC, RIGID, 2mm thick conduit | 1
1.5 Sq.mm Cu FRLS wire | 2
1.0 Sq.mm Cu FRLS wire | 1
20mm dia. PVC, RIGID, 2mm thick conduit | 1
CIRCUIT MAINS | 1
POINT WIRING | 1
1.5sq.mm. FRLS Copper wires | 3
20mm dia conduit | 1
conduit | 1
bends | 1
colars | 1
G.I back box | 1
Ceiling & Wall Light Junction Box | 1
Fan | 1
Chandlier Ms hook & boxes | 1
GI wire | 1
Nylon rope | 1
light point | 1
6Amps modular type switch | 1
light point | 1
6Amps modular type switch | 2
Light point | 2
6Amps modular type switch | 1
light point | 3
6Amps modular type switch | 1
Ceiling fan point | 1
6Amps modular switch | 1
2 module stepped electronic fan regulator | 1
switch | 1
2 module step regulator | 1
fan hook box | 1
Call bell point | 1
6/10A, 2 module bell push switch with indicator | 1
Bell push switch | 1
6Amps 5 pin switched socket outlet | 1
6Amps 5 pin socket outlet | 1
6Amps SP switch | 1
6Amps 5 pin socket outlet | 1
6Amps SP switch | 1
6Amps 5 pin socket outlet | 2
6Amps SP switch | 2
4 module box | 1
2 module box | 1
6Amps 5 pin socket outlet | 3
6Amps SP switch | 3
8 module box | 1
2 module box | 1
6Amps 5 pin socket | 1
6Amps switch | 1
wiring | 1
G.I back box | 2
acrylic cover | 1
PVC conduit | 1
USB power delivery charger | 1
USB-C type | 1
6/16Amps 6 pin shuttered socket outlet | 1
16Amps SP switch with neon indicator | 1
6/16Amps 3 pin shuttered switched socket outlet | 1
weatherproof 2 module box (IP 55) | 1
16Amps SP switch with neon indicator | 1
16Amps 3 pin shuttered socket outlet | 1
16Amps SP switch with neon indicator | 1
DP MCB with enclosure | 32
4P MCB with enclosure | 32
Elevator Shaft Lighting | 1
Bulk head light fixture | 3
10Watt LED lamp | 3
6Amps 5 pin switched socket outlet | 3
light fixture | 3
16Amps 2 way switch | 1
16Amps switch | 1
Wiring | 1
6A switched socket outlets | 3
1.5 Sq.mm wire | 3
20mm dia M.S conduit | 1
4 Sq.mm wire | 2
2.5 Sq.mm wire | 1
20mm dia M.S conduit | 1
LED surface mounted down light fixture | 1
Led Bulb | 1
LED Bulkhead light fixture | 1
rigid PVC FRLS conduits | 1
steel pull wires | 1
Conduits | 1
Junction Box | 1
front cover | 1
modular Telephone RJ11 Single Jack Socket outlet | 1
shutter | 1
mounting box | 1
front plate | 1
accessories | 1
modular type TV Co-Axial Single Socket outlet | 1
mounting box | 1
front plate | 1
accessories | 1
Modular TV Co-Axial Single Socket outlet | 1
Computer RJ45 Jack Single Socket Outlet with shutter | 1
Mounting box | 1
Front plate | 1
75 Ohms (RG 11) co-axial unarmoured cable | 1
20mm dia. PVC, RIGID, 2mm thick conduit | 1
CAT-6 UTP cable | 1
PVC, RIGID, 2mm thick conduit | 1
PVC, RIGID, 2mm thick conduit | 1
bends | 1
colars | 1
GI wire | 1
Nylon rope | 1
PVC conduit | 1
bends | 1
colars | 1
GI wire | 1
Nylon rope | 1
Earth Electrodes | 1
Earth Strips | 1
EARTH STRIPS | 1
Earth strips | 1
GI | 1
Copper | 1
GI nut bolts | 1
PVC sleeves | 1
Copper strips | 1
Epoxy Insulated mounts | 1
EARTH ELECTRODES | 1
G.I PIPE | 1
salt | 1
charcoal | 1
brick | 1
C.I cover | 1
EARTH STRIPS | 1
GI earth strips | 1
GI strip | 1
SWG GI wire | 8
teak wood | 1
glass | 1
Danger Boards 440V system | 1
LV system | 1
Fire Bucket | 2
Stand | 1
Round Bottom | 1
Red Paint | 1
Fire River Sand | 1
Rubber mats | 1
Ladder Type Cable Tray | 1
Ladder Type Cable Tray | 1
thermoplastic poly carbonate | 1
3Cx4sqmm cables | 1
FRLS PVC conduits | 1
steel pull wires | 1