## Sheet1
Description | Unit | QTY | Raw Materails | Sub QTY | LP | WITH DISCOUNT | Accessories 5% to 30% | F&I -0-2% | EHS 0.5-2% | Consumable-1% & Wastage -1% | Material Cost |  | Material Rate | Round figure | Material Sale | Total | Sub Total | SC Rate | OH for labor aminities and camp 10% | Installation |  | Rate |  | OH & Supporting staff | Contingency 2% | Margin 6% to 16%
[11 empty] | Rate | Total |  |  | Rate | Total |  |  |  | Rate | Total | Supply | Install.
MCB DB
6Way TPN DB ( Total module cutout: 8 incomer + 18 outgoing )
Flush mounted, horizontal mounting type, flush type double door, IP43, metal door - Three Phase DB | Set | 105 | DB Enclosure | 1 |  | 3600 | [18 empty] | 2 | 16
Incomer : 40A 4P, RCCB, 30mA & AC type- 1 No. per DB |  |  | 40A 4P RCCB | 1 | 5421 | 1626.3 | [18 empty] | 2 | 12
Outgoings : 6/10A SP, MCBs ( 'B' CURVE ) - 6 Nos. per DB |  |  | 6/10A SP, MCBs | 6 | 2490 | 771.9
Outgoings : 16/20A SP, MCBs ( 'C' CURVE ) - 8 Nos. per DB |  |  | 16/20A SP, MCB's | 8 | 3800 | 1178
Outgoing: 32A 4P, MCB ('C' CURVE )- 1 No. per DB |  |  | 32A 4P MCB | 1 | 4606 | 1427.86 |  |  |  | 1600
|  |  | SUB TOTAL |  |  | 8604.06 | [11 empty] | 1600